**C –GTS sources and CATS samplers distribution**

|  |  |  |
| --- | --- | --- |
| **Room** | **Floor** | **CATS sampler n°** |
| Basement | **0** | **287726** |
| **298402** |
| Living room | **1** | **287725** |
| **298401** |
| Living room | **2** | **287729** |
| **298403** |
|  |  |  |
|  |

**Record n°: 1/31.01.2019**

**Date: 31.01.2019**

**Building:**

**Sofia, Serdika district**

**20 Kalach Str.**

**Start of measurements:**

**31.01.2019**

**End of measurements:**

**01.03.2019**

**Exposure time:29 day**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Room** | **Floor** | **GTS source type (colour)** | **GTS number** | **Emission rate** | **Notes** |
| Basement | 0 | Green (TMH) | **6031** |  |  |
| Basement | 0 | Green (TMH) | **6037** |  |  |
| Kitchen | 1 | Yellow (MCH) | **3371** |  |  |
| Living room | 1 | Yellow (MCH) | **3372** |  |  |
| Bedroom | 1 | Yellow (MCH) | **3373** |  |  |
| Living room | 2 | Black (MCH) | **4008** |  |  |
| Children's room | 2 | Black (MCH) | **4010** |  |  |
| Living room | 2 | Black (MCH) | **4011** |  |  |
| Living room | 2 | Black (MCH) | **4007** |  |  |
| Kitchen | 2 | Black (MCH) | **4006** |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

**Legend:**

GTS source colour–

Black (MCH)

Yellow (MDC)

Brown (PCH)

Emission rate –

HR (High Rate)

MR (Medium Rate)

LR (Low Rate)

**Measured by:**

**Signature:**