**C –GTS sources and CATS samplers distribution**

|  |  |  |
| --- | --- | --- |
| **Room** | **Floor** | **CATS sampler n°** |
| Bedroom 1 | **2** | **416364** |
| **287713** |
| Living room | **1** | **416361** |
| **416362** |
| Room | **1** | **270503** |
| **270504** |
|  |  |  |
|  |

**Record n°:3/28.01.2019**

**Date: 28.01.2019**

**Building:**

**Tvarditsa, Sliven district**

**18 Haydushka Polyana Str.**

**Start of measurements:**

**28.01.2019**

**End of measurements:**

**26.02.2019**

**Exposure time:29 day**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Room** | **Floor** | **GTS source type (colour)** | **GTS number** | **Emission rate** | **Notes** |
| Living room | **1** | Yellow (MDC) | **3374** |  |  |
| Living room | **1** | Yellow (MDC) | **3376** | **29,0** |  |
| Kitchen | **1** | Yellow (MDC) | **3375** |  |  |
| Room | **1** | Yellow (MDC) | **3377** | **30,3** |  |
| Bedroom 1 | **2** | Black (MCH) | **4013** |  |  |
| Bedroom 1 | **2** | Black (MCH) | **4012** |  |  |
| Bedroom 2 | **2** | Black (MCH) | **4014** |  |  |
| Children's room | **2** | Black (MCH) | **4015** |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

**Legend:**

GTS source color–

Black (MCH)

Yellow (MDC)

Brown (PCH)

Emission rate –

HR (High Rate)

MR (Medium Rate)

LR (Low Rate)

**Measured by:**

**Signature:**