**C –GTS sources and CATS samplers distribution**

|  |  |  |
| --- | --- | --- |
| **Room** | **Floor** | **CATS sampler n°** |
| Basement | **0** | **416369** |
| **287711** |
| Living room | **1** | **287712** |
| **416370** |
| Living room | **2** | **287716** |
| **287715** |
| Room | **2** | **416363** |
| **287714** |

**Record n°:5/24.01.2019**

**Date: 24.01.2019**

**Building:**

**Bansko, Blagoevgrad district**

**4, Dame Gruev Str**

**Start of measurements:**

**24.01.2019**

**End of measurements:**

**21.02.2019**

**Exposure time: 28 day**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Room** | **Floor** | **GTS source type (colour)** | **GTS number** | **Emission rate** | **Notes** |
| Basement | 0 | Brown (PCH) | **6016** |  |  |
| Basement | 0 | Brown (PCH) | **6017** |  |  |
| Kitchen | 1 | Yellow (MDC) | **3381** | **29,3** |  |
| Living room | 1 | Yellow (MDC) | **3382** | **30,8** |  |
| Bedroom | 1 | Yellow (MDC) | **3383** |  |  |
| Kitchen | 2 | Black (MCH) | **4020** |  |  |
| Room | 2 | Black (MCH) | **4021** |  |  |
| Living room | 2 | Black (MCH) | **4019** |  |  |
| Children's room | 2 | Black (MCH) | **4022** |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

**Legend:**

GTS source colour–

Black (MCH)

Yellow (MDC)

Brown (PCH)

Emission rate –

HR (High Rate)

MR (Medium Rate)

LR (Low Rate)

**Measured by:**

**Signature:**