**C –GTS sources and CATS samplers distribution**

|  |  |  |
| --- | --- | --- |
| **Room** | **Floor** | **CATS sampler n°** |
| Kitchen | **1** | **287717** |
| **287718** |
| Bedroom 1 | **1** | **287719** |
| **287720** |
| Kitchen | **2** | **287723** |
| **287724** |
| Vestibule | **2** | **287722** |
| **416367** |

**Record n°:6/24.01.2019**

**Date:24.01.2019**

**Building:**

**Bania village, Blagoevgrad district**

**36, 27 Str.**

**Start of measurements:**

**24.01.2019**

**End of measurements:**

**21.02.2019**

**Exposure time:28 day**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Room** | **Floor** | **GTS source type (colour)** | **GTS number** | **Emission rate** | **Notes** |
| Kitchen | 1 | Yellow (MDC) | **3392** |  |  |
| Bedroom 1 | 1 | Yellow (MDC) | **3390** |  |  |
| Bedroom 2 | 1 | Yellow (MDC) | **3391** |  |  |
| Kitchen boxing | 1 | Yellow (MDC) | **3393** |  |  |
| Kitchen | 2 | Black (MCH) | **4028** |  |  |
| Children's room | 2 | Black (MCH) | **4031** |  |  |
| Bedroom | 2 | Black (MCH) | **4029** |  |  |
| Dining room | 2 | Black (MCH) | **4032** |  |  |
| Living room | 2 | Black (MCH) | **4030** |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

**Legend:**

GTS source colour–

Black (MCH)

Yellow (MDC)

Brown (PCH)

Emission rate –

HR (High Rate)

MR (Medium Rate)

LR (Low Rate)

**Measured by:**

**Signature:**