**C –GTS sources and CATS samplers distribution**

|  |  |  |
| --- | --- | --- |
| **Room** | **Floor** | **CATS sampler n°** |
| Basement | **0** | **287727** |
| **287726** |
| Room 1 | **1** | **298404** |
| **287730** |
| Storage rooms | **1** | **287731** |
| **287732** |
| Living room | **2** | **287733** |
| **287734** |
| Room 2 | **2** | **287735** |
|  |  | **287736** |
| Dining room | **3** | **287737**  **assembled incorrectly. We understand when we collected the CATS** |
|  |  | **287738** |
| Bedroom | **3** | **287739** |
|  |  | **287740** |
| Dining room | **4** | **270501** |
|  |  | **270502** |

**Record n°:7/24.01.2019**

**Date: 24.01.2019**

**Building:**

**Bansko, Blagoevgrad district**

**4, Garibaldy Str.**

**Start of measurements:**

**24.01.2019**

**End of measurements:**

**21.02.2019**

**Exposure time:28 day**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Room** | **Floor** | **GTS source type (colour)** | **GTS number** | **Emission rate** | **Notes** |
| Basement 1 | 0 | Green (TMH) | **6032** |  |  |
| Basement 2 | 0 | Green (TMH) | **6036** |  |  |
| Basement 3 | 0 | Green (TMH) | **6034** |  |  |
| Basement 4 | 0 | Green (TMH) | **6033** |  |  |
| Basement 5 | 0 | Green (TMH) | **6035** |  |  |
| Room 1 | 1 | Brown (PCH) | **6024** |  |  |
| Room 2 | 1 | Brown (PCH) | **6025** |  |  |
| Room 3 | 1 | Brown (PCH) | **6022** |  | **broken on 21.02.2019. It divided on two part, when we took it, during the collection of GTS, after put on CATS in the car.** |
| Bedroom 1 | 2 | Yellow (MDC) | **3397** |  |  |
| Bedroom 2 | 2 | Yellow (MDC) | **3395** |  |  |
| Kitchen | 2 | Yellow (MDC) | **3394** |  |  |
| Living room | 2 | Yellow (MDC) | **3398** |  |  |
| Vestibule | 2 | Yellow (MDC) | **3396** |  |  |
| Bedroom 1 | 3 | Black (MCH) | **4039** |  |  |
| Bedroom 2 | 3 | Black (MCH) | **4037** |  |  |
| Kitchen | 3 | Black (MCH) | **4035** |  |  |
| Living room | 3 | Black (MCH) | **4033** |  |  |
| Living room | 3 | Black (MCH) | **4034** |  |  |
| Living room | 4 | Black (MCH) | **4040** |  |  |
| Room 1 | 4 | Black (MCH) | **4038** |  |  |
| Room 2 | 4 | Black (MCH) | **4036** |  |  |
| Storage rooms | 1 | Brown (PCH) | **6023** |  |  |

**Legend:**

GTS source colour–

Black (MCH)

Yellow (MDC)

Brown (PCH)

Emission rate –

HR (High Rate)

MR (Medium Rate)

LR (Low Rate)

**Measured by:**

**Signature:**