**C –GTS sources and CATS samplers distribution**

|  |  |  |
| --- | --- | --- |
| **Room** | **Floor** | **CATS sampler n°** |
| Basement | **0** | **298409** |
| **298410**  **assembled incorrectly. We understand when we collected the CATS** |
| Basement | **0** | **270505**  **assembled incorrectly. We understand when we collected the CATS** |
| **270506** |
| Kitchen | **1** | **270507** |
| **270508** |
| Living room | **1** | **270509** |
| **270510** |
| Living room | **2** | **270523** |
|  |  | **270524** |
| Bedroom 2 | **2** | **270513** |
|  |  | **270514** |

**Record n°:8/29.01.2019**

**Date: 29.01.2019**

**Building:**

**Plovdiv, Plovdiv district**

**30 Radetcy Str.**

**Start of measurements:**

**29.01.2019**

**End of measurements:**

**27.02.2019**

**Exposure time:30 day**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Room** | **Floor** | **GTS source type (colour)** | **GTS number** | **Emission rate** | **Notes** |
| Dining room | 2 | Black (MCH) | **4023** |  |  |
| Kitchen | 2 | Black (MCH) | **4026** |  |  |
| Living room | 2 | Black (MCH) | **4025** |  |  |
| Bedroom 1-children's bedroom | 2 | Black (MCH) | **4027** |  |  |
| Bedroom 2 | 2 | Black (MCH) | **4024** |  |  |
| Living room | 1 | Yellow (MDC) | **3386** |  |  |
| Living room | 1 | Yellow (MDC) | **3385** |  |  |
| Kitchen | 1 | Yellow (MDC) | **3388** | **29,4** |  |
| Bathroom(Living room) | 1 | Yellow (MDC) | **3389** |  |  |
| Vestibule | 1 | Yellow (MDC) | **3384** |  |  |
| Basement | 0 | Brown (PCH) | **6018** |  |  |
| Basement | 0 | Brown (PCH) | **6020** |  |  |
| Basement | 0 | Brown (PCH) | **6019** |  |  |
| Basement | 0 | Brown (PCH) | **6021** |  |  |

**Legend:**

GTS source colour–

Black (MCH)

Yellow (MDC)

Brown (PCH)

Emission rate –

HR (High Rate)

MR (Medium Rate)

LR (Low Rate)

**Measured by:**

**Signature:**